## Slot 0
IO Type | TB No | PLC Tag | Address | Valve TB No |  |  | Valve TB No |  |  | Valve TB No
DI | C1 | 24V+ |  | 3
| 1 | Valve1OpenFB | X001 | 4
| 2 | Valve1CloseFB | X002 | 5
| 3 | Valve2OpenFB | X003
| 4 | Valve2CloseFB | X004
| C2 | 24V+
| 5 | Valve3OpenFB | X005
| 6 | Valve3CloseFB | X006
| 7 | SPARE | X007
| 8 | SPARE | X008
DO | C3 | 24V-
| 1 | Valve1OpenCmd | Y001
| 2 | Valve1CloseCmd | Y002
| 3 | Valve2OpenCmd | Y003
| 4 | Valve2CloseCmd | Y004
| C4 | 24V-
| 5 | Valve3OpenCmd | Y005
| 6 | Valve3CloseCmd | Y006 |  |  | Open Relay |  |  | Close Relay
| +V | 24V+
[7 empty] | 2 |  |  | 1
[7 empty] | 2 |  |  | 1
|  |  |  | 24V+ |  |  |  | 24V+
[5 empty] | 24V- |  |  | 24V-
R1
NO
NC
R2
NO
NC

## Slot 1
IO Type | TB No | PLC Tag | Address | Valve TB No |  |  | Valve TB No |  |  | Valve TB No
DI | C1 | 24V+ |  | 3
| 1 | Valve4OpenFB | X021 | 4
| 2 | Valve4CloseFB | X022 | 5
| 3 | Valve5OpenFB | X023
| 4 | Valve5CloseFB | X024
| C2 | 24V+
| 5 | Valve6OpenFB | X025
| 6 | Valve6CloseFB | X026
| 7 | SPARE | X027
| 8 | SPARE | X028
DO | C3 | 24V-
| 1 | Valve4OpenCmd | Y021
| 2 | Valve4CloseCmd | Y022
| 3 | Valve5OpenCmd | Y023
| 4 | Valve5CloseCmd | Y024
| C4 | 24V-
| 5 | Valve6OpenCmd | Y025
| 6 | Valve6CloseCmd | Y026 |  |  | Open Relay |  |  | Close Relay
| +V | 24V+
[7 empty] | 2 |  |  | 1
[7 empty] | 2 |  |  | 1
|  |  |  | 24V+ |  |  |  | 24V+
[5 empty] | 24V- |  |  | 24V-
R1
NO
NC
R2
NO
NC